## Slide 1
Localization is promising; force estimation is future work
The nine-ROI optical sensor shows useful retrospective contact localization, but spatially uneven force response prevents a validated force-estimation claim.
SENSOR METRICS
11.92%
median repeatability variation
Across 393 force-bin summaries; positive low-force slopes in 4 of 9 ROIs.
FORCE LOCALIZATION
93.43%
event-level macro F1
93.41% accuracy across 102 events / 54 sessions; post-hoc grouped folds.
LIMITATION / FUTURE WORK
0.328 N
conditional estimation MAE
p95 error 0.643 N; weak tracking (ρ = 0.207). Present only in Limitations & Future Directions.
Source: Thesis technical report (18 Aug 2026), Table 2 and §§9.1–9.2; experimental hybrid v4 metrics and release decision.
1
Notes: [Sources]
- C:\Users\DLSU\OneDrive\Documents\SOFTWARE CALIBRATION\reports\thesis_technical_report_2026-08-18\SPARE_Calibration_Program_Full_Technical_Report_2026-08-18.md — Technical Summary, Table 2, and Sections 9.1–9.2.
- C:\Users\DLSU\OneDrive\Documents\SOFTWARE CALIBRATION\calibration_gui\models\live_sensor_experimental_hybrid_v4\metrics.json — post-hoc localization and force-estimation metrics.
- C:\Users\DLSU\OneDrive\Documents\SOFTWARE CALIBRATION\calibration_gui\models\live_sensor_experimental_hybrid_v4\release_decision.json — validation blockers and future-work framing.
[/Sources]